PerioGlas Instructions for use.
Ingredients: Synthetic bioactive particles of calcium phosphorous, sodium, oxygen and silica
Uses: Indicated for a variety of osseous effects: - Ridge Augmentation, Sinus elevation, preservation of alveolar ridge after extraction, Cystectomies apioectomies, in conjunction with implant placement, periodontal defects with GTR products, periodontal defects with GBR products, Trauma effects.
Administration; prepare surgical site following standard procedures. Thorough debridement of osseous defect, root planning eurehage of root surface is important.

Use intra marrow penetration to ensure bleeding and supply osteogenic material to aid in bone regeneration. Apply 5-6 drops of patient’s blood to pergioGlas in a mixing cup to create an adhesive mix. Mix with flat end of spatula for 15 seconds use within 2-3 minutes. In small increments gently place the PerioGlas mix in the site with the highest level of bone defect. Use spoon end of spatula, Do not use an amalgam carrier, Do not pack or compress material into the site. Do not blot away blood/moisture in the graft material. 

Flap Margin should be trimmed and adapted to cover the grafted area, Adapt flaps and completely close, After precise closure is assured retract flaps from the dento alveolar process to provide access to the defects. 

Contraindications: PerioGlass should not be used in patients when 1. Need chronic anticoagulant therapy 2. Are taking immunosuppressant therapy  3. Have had or are undergoing irridation of jaw  4. Are poorly controlled insulin dependent diabetics 5. Have any existing condition or disease that will interfere with good m  and bone healing.

Precautions:

Patients should not chew on or brush the treated area for at least 1 to 2 weeks use of an antibacterial rinse is recommended

Side Effects: None

Package Quantity: 0.4cc Syringe
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